# Agentic Generation Scheduling and Market Decision-Support Platform for SLDC Operations

## Integrated Project Vision

### Proposed Title

Agentic Generation Scheduling and Market Decision-Support Platform for SLDC Operations

Alternative title:

AI-Assisted Generation Scheduling and Market Operations Co-Pilot

# 1. Executive Summary

Modern State Load Dispatch Centres (SLDCs) operate in an increasingly dynamic environment characterized by:

- Rapid renewable energy integration

- Volatile short-term market prices

- Congestion management challenges

- Forecast uncertainty

- Tight operating reserves

- Increasing operational complexity

Traditional scheduling and market procurement practices rely heavily on operator experience, fragmented tools, and manual coordination. This creates limitations in:

- Cost optimisation

- Response time

- Scenario analysis

- Procurement discipline

- Situational awareness

This project proposes an integrated optimisation and operational intelligence platform combining:

- Mathematical optimisation for generation scheduling and market procurement

- Scenario-based operational analysis

- Human-in-the-loop decision support for market operations

- Real-time situational awareness and recommendation generation

The system is designed not to replace operators, but to augment decision-making through computational optimisation and intelligent operational assistance.

# 2. Problem Statements

## 2.1 SLDC-06 — Automated Generation Scheduling Optimiser

### Discipline

Operations Research + Computer Science

### Objective

Design an optimisation engine for day-ahead and real-time generation scheduling that minimises procurement cost while satisfying:

- Demand requirements

- Transmission constraints

- Ramp-rate limits

- Must-run obligations

- Renewable curtailment limits

- Reserve requirements

### Motivation

Manual scheduling is time-intensive and may not identify cost-optimal dispatch schedules. An automated optimiser can:

- Reduce power procurement cost

- Improve renewable integration

- Enhance operational consistency

- Support faster rescheduling

- Improve transparency in dispatch decisions

### Expected Outputs

- Mixed Integer Linear Programming (MILP) scheduling model

- Day-ahead and intra-day scheduling engine

- Scenario comparison module

- Cost-saving analytics

- User-friendly operator dashboard

- EMS integration specification

## 2.2 CW-01 — Agentic Decision-Support for Power Purchases and Market Operations

### Discipline

AI/ML + Power Systems + Economics

### Objective

Develop a human-in-the-loop decision-support system that monitors:

- Demand variations

- Renewable forecast errors

- Transmission corridor constraints

- Generator outages

- Market prices

- Reserve conditions

- Frequency trends

and recommends procurement or operational actions for market participation.

### Motivation

Short-term market operations increasingly influence:

- Procurement cost

- Reliability

- Congestion management

- Renewable balancing

Operators require faster synthesis of operational information while maintaining full control over final actions.

### Expected Outputs

- Shortage/surplus alerts

- Market recommendation engine

- Price and demand visualisations

- Scenario comparison tools

- Approval-ready operational notes

- Post-trade analytics

- Exception detection system

### Stretch Goal

Progress gradually toward a recommendation-oriented operational co-pilot for round-the-clock situational awareness.

# 3. Unified System Architecture

The two problem statements are highly interconnected.

The recommended architecture is:

## Layer 1 — Optimisation Core

Responsible for:

- Generation scheduling

- Market procurement optimisation

- Reserve allocation

- Constraint handling

- Cost minimisation

## Layer 2 — Operational Intelligence Layer

Responsible for:

- Situational awareness

- Recommendation synthesis

- Risk prioritisation

- Exception handling

- Operator support

- Scenario interpretation

The optimisation engine computes feasible and economical schedules.

The operational intelligence layer assists operators in navigating uncertainty and evolving system conditions.

# 4. High-Level System Flow

Forecast Inputs

(Demand / RE / Prices / Outages)

|

v

Constraint Processing

(Transmission / Unit / Reserve)

|

v

MILP Optimisation

(Economic Dispatch Engine)

|

v

Scenario Evaluation

|

v

Operational Intelligence

|

v

Human-in-the-Loop Actions

# 5. Core Optimisation Problem

## 5.1 Objective Function

Primary objective:

Minimise total procurement and operating cost while satisfying operational constraints.

The optimisation objective includes:

- Generation cost

- Market procurement cost

- Renewable curtailment penalties

- Reserve deficiency penalties

- Load shedding penalties

- Congestion-related penalties

## 5.2 Decision Variables

| Variable | Description |
| --- | --- |
| Pi,t | Generator output |
| Ui,t | Unit commitment status |
| Mt | Market purchase/sale quantity |
| Rt | Reserve procurement |
| Curtt | Renewable curtailment |
| LSt | Load shedding |

# 6. Operational Constraints

## 6.1 Power Balance Constraint

Total generation and purchases must satisfy demand.

Includes:

- Conventional generation

- Renewable generation

- Market purchases

- System losses

## 6.2 Generator Limits

Each generating unit must operate within:

- Minimum output

- Maximum output

- Technical minimum constraints

## 6.3 Ramp-Rate Constraints

Generator output changes must remain within allowable ramping capability.

Important for:

- Thermal units

- Hydro scheduling

- Fast response balancing

## 6.4 Transmission Constraints

Transmission corridor loading limits must be respected.

Initial implementation:

- Corridor-based limits

- Simplified DC load flow

Advanced implementation:

- PTDF-based congestion modelling

- Security-constrained dispatch

## 6.5 Must-Run Obligations

Applicable for:

- Nuclear generation

- Certain hydro schedules

- Must-run renewable generation

## 6.6 Reserve Constraints

Maintain sufficient reserves for:

- Frequency support

- Contingencies

- Renewable variability

- Sudden outages

# 7. Why Optimisation Alone is Not Sufficient

A key insight of this project is that optimisation alone does not fully solve operational decision-making.

The optimiser determines:

- Optimal dispatch

- Required market quantum

- Feasible schedules

However, operators still face several practical decisions:

- Whether to buy immediately or defer procurement

- DAM vs RTM procurement choice

- Full vs staggered procurement

- Response to evolving renewable deviations

- Congestion risk handling

- Frequency-sensitive operational decisions

- Reserve preservation strategy

- Handling uncertain forecasts

These are operational navigation problems rather than pure optimisation problems.

# 8. Role of the Operational Intelligence Layer

The operational intelligence layer should not be viewed as an autonomous trading system.

Instead, it functions as:

## A Human-in-the-Loop Operational Co-Pilot

Its responsibilities include:

- Continuous monitoring

- Information prioritisation

- Risk identification

- Recommendation generation

- Operational explanation

- Cognitive load reduction

The final operational authority always remains with SLDC operators.

# 9. High-Value Operational Intelligence Functions

## 9.1 Procurement Timing Recommendations

Example:

- RTM Gate-1 price is high

- Historical patterns suggest softer prices later

- Wind uncertainty remains moderate

Recommendation:

- Procure partial quantum now

- Defer remaining procurement to later gate closure

## 9.2 Exception Detection

Examples:

- Generator ramp inconsistency

- Corridor nearing congestion threshold

- Renewable forecast anomalies

- Reserve exhaustion risk

- Persistent frequency deviations

## 9.3 Situational Awareness Summaries

Instead of operators monitoring multiple dashboards simultaneously, the system provides concise summaries such as:

- Expected shortage risk

- Congestion watchlist

- Market volatility alerts

- Renewable uncertainty warnings

## 9.4 Counterfactual and Post-Trade Analytics

Examples:

- Alternative procurement strategies

- Avoided costs

- Missed opportunities

- Market timing analysis

- Forecast deviation impact

## 9.5 Learning and Behavioural Insights

The system may identify:

- Recurring congestion patterns

- Market price behaviour trends

- Forecast biases

- Seasonal operational patterns

# 10. Recommended Technology Stack

| Layer | Technology |
| --- | --- |
| Optimisation Modelling | Pyomo |
| Solver | Gurobi / CBC |
| Backend APIs | FastAPI |
| Database | PostgreSQL + TimescaleDB |
| Streaming | Kafka / Redis Streams |
| Workflow Scheduling | Apache Airflow |
| Frontend | React + Plotly |
| ML Layer | Scikit-learn / XGBoost / PyTorch |

# 11. Data Requirements

## 11.1 Forecast Data

- Demand forecast

- Solar forecast

- Wind forecast

- Weather data

## 11.2 Operational Data

- Generator availability

- Ramp limits

- Unit costs

- Outage schedules

## 11.3 Network Data

- Corridor limits

- Transmission outages

- Congestion information

## 11.4 Market Data

- DAM prices

- RTM prices

- Ancillary service prices

- Market clearing volumes

## 11.5 Real-Time Operational Data

- SCADA telemetry

- Frequency trends

- Drawal patterns

- Reserve utilisation

# 12. Scenario Engine

The scenario engine is one of the highest-value modules.

Operators should be able to evaluate:

| Scenario | Description |
| --- | --- |
| Base Case | Normal forecast |
| High Demand | Heat-wave or demand surge |
| RE Drop | Wind or solar collapse |
| Corridor Trip | Congestion contingency |
| Price Spike | RTM volatility |
| Generator Outage | Sudden unit outage |

Outputs include:

- Cost impact

- Reserve sufficiency

- Renewable curtailment

- Congestion risk

- Market exposure risk

# 13. Stochastic Optimisation (Stretch Goal)

The stretch objective is to extend deterministic optimisation into uncertainty-aware scheduling.

Instead of using a single forecast value:

Example:

Wind forecast:

- P10 = 2200 MW

- P50 = 3000 MW

- P90 = 3800 MW

The optimiser evaluates multiple uncertainty scenarios.

Potential techniques include:

| Technique | Application |
| --- | --- |
| Scenario-based stochastic MILP | Renewable uncertainty |
| Robust optimisation | Worst-case scheduling |
| Monte Carlo simulation | Risk analysis |
| Bayesian updating | Forecast correction |
| Reinforcement learning | Long-term bidding policy |

# 14. Human-in-the-Loop Design Principle

This project should explicitly avoid unrestricted autonomous operational control.

The system should:

- Recommend actions

- Explain reasoning

- Provide confidence indicators

- Allow operator approval or override

- Maintain complete audit logs

This is essential for:

- Operational safety

- Regulatory acceptance

- Cyber-security considerations

- Trustworthiness

- Utility adoption

# 15. Proposed MVP (Minimum Viable Product)

A realistic first implementation should focus on:

## Inputs

- Historical demand

- Historical RTM/DAM prices

- Simplified generator fleet

- Corridor constraints

- Renewable forecasts

## Outputs

- Optimal dispatch schedule

- RTM purchase recommendation

- Scenario comparison

- Cost comparison analytics

- Operator dashboard

## Time Resolution

- 96 time blocks/day

## Initial Scope

- Offline simulation environment

- Historical replay analysis

- Limited real-time integration

This approach reduces implementation complexity while demonstrating value.

# 16. Implementation Roadmap

## Phase 1 — Problem Formalisation

- Define objective functions

- Define constraints

- Define market participation logic

- Establish scheduling horizon

## Phase 2 — Data Infrastructure

- Historical database setup

- Data ingestion pipelines

- Forecast integration

- Market data integration

## Phase 3 — Optimisation Engine

- MILP formulation

- Solver integration

- Day-ahead scheduling

- Real-time rescheduling

## Phase 4 — Scenario Engine

- Contingency analysis

- Renewable uncertainty scenarios

- Cost-risk evaluation

## Phase 5 — Operational Intelligence Layer

- Alert engine

- Recommendation system

- Exception detection

- Situational summaries

## Phase 6 — Dashboard and User Interface

- Operator visualisation

- Approval workflow

- Analytics dashboard

- Scenario comparison tools

## Phase 7 — Advanced Research Extensions

- Stochastic optimisation

- Adaptive forecasting

- Learning-based bidding assistance

- Advanced congestion forecasting

# 17. Expected Benefits

## Operational Benefits

- Faster decision-making

- Reduced operator cognitive load

- Improved situational awareness

- Better renewable integration

- Improved reserve management

## Economic Benefits

- Reduced procurement cost

- Better market timing

- Reduced congestion penalties

- Lower deviation exposure

## Strategic Benefits

- Foundation for future smart dispatch systems

- Better commercial operations analytics

- Improved institutional knowledge retention

- Enhanced operational transparency

# 18. Research Contribution

This project can be positioned academically as:

A human-supervised optimisation and operational intelligence framework for short-term power system commercial operations under renewable uncertainty.

Potential research contributions include:

- Human-in-the-loop operational AI

- Market-aware generation scheduling

- Explainable operational recommendations

- Renewable uncertainty management

- Integrated optimisation and operational intelligence

# 19. Suggested Team Structure

| Role | Responsibility |
| --- | --- |
| Power Systems Expert | Operational constraints and dispatch logic |
| OR Specialist | MILP formulation |
| ML Engineer | Forecasting and predictive analytics |
| Backend Developer | APIs and orchestration |
| Frontend Developer | Dashboard and visualisation |
| Domain Expert | SLDC workflow validation |

# 20. Key Strategic Insight

The mathematical optimisation engine is the core value creator.

The operational intelligence layer enhances:

- usability

- responsiveness

- situational awareness

- operational coordination

The project should therefore avoid positioning itself as:

- autonomous dispatch AI

- autonomous market trading AI

- AI replacement for operators

Instead, it should be positioned as:

- intelligent decision support

- operational co-pilot

- market advisory platform

- optimisation-assisted operations framework

This positioning is:

- technically credible

- operationally practical

- utility-friendly

- safer from governance and regulatory perspectives

# 21. Conclusion

The proposed platform combines:

- optimisation

- forecasting

- market intelligence

- operational analytics

- human-in-the-loop decision support

into a unified framework for modern SLDC commercial and scheduling operations.

The strongest differentiator of the project is not merely optimisation, but the integration of:

- optimisation

- uncertainty handling

- scenario reasoning

- operational explainability

- operator-centric intelligence

Such a system has strong relevance for:

- renewable-heavy grids

- modern power markets

- evolving ancillary services

- real-time operational planning

- future intelligent dispatch centres

and provides a strong foundation for future academic research, pilot implementation, and utility-scale deployment.